## Equipment
Item | Installation Date | Manufacturer | Material | Model/Serial# | Contract Company | Contact Name | Routine Maintenance # | Emergency # | Warranty Term | Warranty Expiration | Expected Replacement Date
Boiler | 2011-03-17 | American Boiler | Steel | UV34-127-RS | Joey's Heating & Cooling | Joe Verucci | 123-234-3456 | 123-234-6789 | 10 Year Limited | 2021-03-16 | FY35

## Interior Repair
Item | Type of Repair | Installation Date | Repair Date | Manufacturer | Material | Model/Serial# | Contract Company | Contact Name | Routine Maintenance # | Emergency # | Warranty Term | Warranty Expiration | Expected Replacement Date
Boiler | Rib Replacement | 2011-03-17 | 2019-04-21 | American Boiler | Steel | UV34-127-RS | Joey's Heating & Cooling | Joe Verucci | 123-234-3456 | 123-234-6789 | 10 Year Limited |  | FY35
Lighting | LED Upgrade | 2017-08-06 |  | ABC LED Fixture, Inc. |  | AL234-17-890 | Green Energy Solutions | Ellen Lumens | 456-789-1111 | 456-789-1112 | 5 Year Limited |  | FY38
[6 empty] | AL235-18-890 |  |  |  |  | 5 Year Limited |  | FY38
Plaster | Crack Repair | 1897 | 1946-02-10 |  | Horsehair Plaster |  | Allen Plaster Repair, Inc.
|  |  | 1965-05-22 |  |  |  | Allen & Sons Plaster Repair, Inc.
|  |  | 1983-10-03 |  |  |  | Smith Wall Solutions
|  |  | 2005-12-14 |  |  |  | 3 Coat Plaster, LLC | Jordan Catalano | 343-989-2214 | 343-989-2215 | 10 Year Limited |  | FY25

## Exterior Repair
Item | Type of Repair | Installation Date | Repair Date | Manufacturer | Material | Model/Serial# | Contract Company | Contact Name | Routine Maintenance # | Emergency # | Warranty Term | Warranty Expiration | Expected Replacement Date
Gutters | Cleaning | 2015-03-21 | 2016-11-15 | Gutters R Us | Aluminum | VP10-RHP-5W | Leaf Eliminator, Inc. | Judy Wilson | 111-111-1111 | 111-111-2222 | 25 Year Limited | 2040-03-20 | FY40
|  |  | 2017-11-16 |  |  |  | Leaf Eliminator, Inc. | Judy Wilson
|  |  | 2018-11-17 |  |  |  | Leaf Eliminator, Inc. | Jason Wilson
Masonry | Repointing- stone facade | 1897 | 2015-09-12 | East Longmeadow Quarry | Red Sandstone |  | Masonry Unlimited | Robert Aguiar | 333-333-3333 | 333-333-4444 | I Year | 2016-09-11 | FY36
Roof | Replacement of broken/missing tiles | 1897 | 1997-06-14 | New England Slate |  | Alpine Valley | Roof Restoration, LLC | Angela Ruiz | 555-555-5555 | 555-555-6666 | 75 Year Limited | 2072-06-13 | FY71 (replaced tiles); ongoing for older tiles
Windows | Abatement, Glazing, Painting | 1897 | 2011-05-06 |  | Wood/Latex Paint |  | Window Restoration, Inc. | Shaheen Suklha | 777-777-7777 | 777-777-8888 |  |  | FY21- Painting
| Replacement of weights | 1897 | 2011-05-06 |  |  |  | Window Restoration, Inc.

## Grounds Repair
Item | Item | Type of Repair | Installation Date | Repair Date | Manufacturer | Material | Model/Serial# | Contract Company | Contact Name | Routine Maintenance # | Emergency # | Warranty Term | Expected Replacement Date
Sprinklers | Sprinkler System | Repair Cut Line | 2012-04-30 | 2019-08-15 | Artificial Rain, Inc. |  | XY3-339-207WZ | Lonzo's Sprinklers | Alonzo Gomez | 757-262-9999 | 757-262-9998 | 2 Year Limited | FY32